Investigator Kick Off Meeting 11/5/20

Monitors

- Masimo RAD 97 is the standard-of-care oximeter now

  - As old oximeters need to be replaced, homecare companies will purchase RAD 97s

- More centers can become data coordinating centers over time

  - Still need to figure out what the ideal number of sites per data coordinating center is

  - More to come later on during implementation

Current Follow-up Schedules

- UMass currently follows infants on HOT monthly

- Needs further discussion

Oximeter averaging time

- Original RHO trial used oximeters with a 2 second averaging time, but since it was an extra monitor in addition to the clinical monitor, it did not alarm

- If a 2 second averaging time is utilized in the implementation, then alarm fatigue will occur and may result in parent distrust in the monitors

- General consensus: averaging time should be the same or close to the averaging time utilized in the inpatient setting

- 12 second averaging time is currently the standard of care for these monitors in clinical utilization

WiFi and Health Equity

- Discuss providing hot spots to families who don’t have access to wifi or can provide data cards to manually obtain the data and mail to the data coordinating center

- Not an issue in current implementation at UMass (45% of families with infants discharged on HOT reported low SES)

- Dartmouth reported issues with hot spot and connecting to the SafetyNet, but may be due to their rural location

- Potential for publicity: Xfinity is providing free wifi to children for educational purposes, maybe they would do the same for RHO

Baseline Data Collection

- Sites to reach out to referring NICUs (for sites with many referring NICUs, maybe just contact the largest ones) to see if they participate in VON

- Not patient level data, and relatively easy to obtain

- Current consensus is that most sites can obtain that data

Additional Discussion Points

- Growth monitoring – only needs to be done at clinic visits

- Potentially adjusting sat parameters for Denver since they’re at altitude

- Exclusion of infants diagnosed with PHTN?

  - Could adjust algorithm or maintain current algorithm with closer monitoring