## Donald
[6 empty] | Mature | Ery | 10-color | SA
New Configuration for Donald
Blue Laser (488nm) | A | 685LP | 695/40 | B-B | PerCP-Cy5-5, Pe-Cy5-5, 7AAD, PE-Cy 5, PerCP-eFluor 710 | Ter119-PeCy5 |  | Sca1-PerCP-Cy5 | PE-Cy5
| B | 505LP | 530/30 | B-E | FITC, GFP, CFSE, AF 488 | GFP | GFP | GFP | FITC
| C |  | 488/10 | B-F | SSC
Violet Laser (405nm) | A | 760LP | 800/80 | V-A | BV 786, Qdot 800 | Gr1-BV785
| B | 630LP | 660/20 | V-B | BV650 |  |  | CD150-BV650 | BV650
| C | 595LP | 605/20 | V-C | BV605, Qdot 605 | AnnV-BV605 | AnnV-BV605 | CD41-BV605 | BV605
| D | 475LP | 525/20 | V-D | AmCyan, L-D Aqua, BV500, Vex, AF 430, Cascade Yellow |  |  | AnnV-BV510
| E |  | 450/50 | V-E | Pacific Blue, BV421, L/D Violet, AF 405, eCFP, Pacific Orange, V450, eFluor 450, Cascade Blue |  | Ter119 BV421 | ItgA6-BV421 | AF405
Red Laser (640nm) | A | 755LP | 785/50 | R-A | APC-Cy7, APC-H7, APC-AF 750, APC-eFluor 780 |  | cKit-APC-Cy7 | cKit-APC-Cy7 | APC-Cy7
| B | 700 LP | 720/30 | R-B | Alexa 700, APC Cy5.5, eFluor 710 | CD8a-AF700 | Lin-AF700 | Lin-AF700
| C |  | 675/14 | R-C | APC, AF 647, AF 633, AF 635, Cy 5, eFluor 660 | CD4 APC | Fas-BIO-SA-APC | CD55-AF647 | APC
UV Laser (355nm) | A | 505LP | 525/20 | UV-A | Indo-1 Blue
| B | 420LP | 450/50 | UV-B | DAPI, L/D Blue, Hoechst 33342, AF 350, CMA | DAPI |  | DAPI
| C |  | 379/28 |  | BUV 395 |  |  | Ter119-BUV395
YG Laser (561nm) | A | 755LP | 780/60 | YG-A | YG PE-Cy7, DRAQ 5 | CD19 PeCy7 | CD71-peCy7 | CD71-peCy7
| B | 685LP | 710/50 | YG-B | YG PE-Cy5-5
| C | 635LP | 660/20 | YG-C | YG PE-Cy5, YG 7AAD, PI, Katushka (turbo 635)
| D | 600LP | 610/20 | YG-D | YG PE-Texas Red, mCherry, Cy 3-5, AF 594, AF 568, PI, PE-CF 594 |  |  |  | AF594
| E | 570LP | 580/20 | YG-E | YG PE, td Tomato, DsRed, mRFP, Cy 3 AF 546, PKH 26 | Mac1-PE | FcER1-PE | CD105-PE | PE

## All Abs on Aurora
| Primary detector | Example Fluorochrome | Emmision Max (nm) | CD71 | Ter119 | Mac1 | Gr1 | CD4 | CD8a | CD19 | B220 | CD3e | CD41 | AnnV | Fas | cKit | Sca1 | CD55 | ItgA6 | CD105 | CD150 | FcER1 | IL-7Ra | CD34 | CD16/32 | Streptavidin
|  | Unconjugated |  |  | x
|  | Biotin conjugaged |  | x | x | x | x | x | x | x | x | x | x | x | x | x |  | x |  |  |  | x
Blue Laser (488nm) | B2 | BD Horizon BB515 | 515
|  | Alexa Fluor® 488 | 521 | x | [16 empty] | x |  |  |  |  | x
|  | FITC | 520 | x | x | x | x | x | x | x | x | x | x | [6 empty] | x |  |  |  | x | x
| B3 | Alexa Fluor® 532 | 550
B4
| B5 | PE | 576 |  | x | [5 empty] | x |  | x | x |  | x | x | x |  | x | x | x | x |  |  | x
| B6 | BD HorizonPE-CF594 | 610
|  | PE/Dazzle 594 | 610 | [15 empty] | x
|  | PE-eFluor® 610 | 610
|  | ?? PI | 617
|  | Alexa Fluor® 594 | 617 | [22 empty] | x
|  | PE-Texas Red® | 625
|  | PE-Alexa Fluor® 610 | 630
B7
|  | ? 7AAD | 647
| B8 | PE-Cy5 | 668 |  | x | x |  | x | x | [16 empty] | x
| B9 | PE-Cy5.5 | 680
|  | PerCP | 680
|  | PerCP-Cy5.5 | 680 |  |  |  | x | [9 empty] | x |  |  | x
|  | BD Horizon BB700 | 695
| B10 | PE-Alexa Fluor® 700 | 720
|  | PerCP-eFluor® 710 | 730
B11
B12
B13
| B14 | PE-Cy7 | 780 | x | x |  |  |  |  | x | [8 empty] | x | [5 empty] | x
Red Laser (640nm) | R2 | APC | 660 |  | x |  |  | x |  |  |  |  | x | x |  | x | [6 empty] | x |  |  | x
|  | eFluor® 660 | 660
|  | Alexa Fluor® 647 | 668 | x | [10 empty] | x |  |  | x |  |  |  | x
R3
| R4 | APC-Cy5.5 | 680
|  | ? Draq 5 | 695
| R5 | BD Horizon APC-R700 | 705
|  | Alexa Fluor® 700 | 720 |  | x | x | x | x | x | x |  | x | [9 empty] | x |  |  |  | x
R6
R7
| R8 | APC/Fire 750 | 780
|  | APC-Cy7 | 780 |  | x |  |  | x | x | [6 empty] | x | [9 empty] | x
|  | APC-eFluor® 780 | 780
|  | APC-H7 | 780 | [12 empty] | x
Violet Laser (405nm) | V1 | Brilliant Violet 421 | 421 | x | x | [7 empty] | x | [5 empty] | x |  |  |  |  | x |  | x
| V2 | Super Bright 436 | 436
| V3 | eFluor® 450 | 450
|  | BD Horizon V450 | 450
|  | Pacific Blue | 455 | [16 empty] | x
|  | ?? DAPI | 461
| V4 | BD Horizon BV480 | 480
| V5 | Brilliant Violet 510 | 510 | [11 empty] | x | [9 empty] | x
|  | eFluor® 506 | 510
|  | BD Horizon V500 | 510 | [5 empty] | x
V6
V7
| V8 | Pacific Orange | 550
| V9 | Brilliant Violet 570 | 570 |  |  | x
| V10 | Super Bright 600 | 600
|  | Brilliant Violet 605 | 605 | [9 empty] | x | x | [11 empty] | x
|  | eVolve® 605 | 605
|  | Qdot® 605 | 605
| V11 | Super Bright 645 | 645
|  | Brilliant Violet 650 | 650 | [17 empty] | x |  |  |  |  | x
|  | eVolve® 655 | 655
|  | Qdot® 655 | 655
V12
| V13 | Super Bright 702 | 702
|  | Qdot® 705 | 705
|  | Brilliant Violet 711 | 711
| V14 | Brilliant Violet 750 | 750
V15
| V16 | Brilliant Violet 785 | 785
|  | BD Horizon BV786 | 786 |  |  |  | x | [9 empty] | x
|  | Qdot® 800 | 790
unsupported |  | AF 405 |  |  | x
|  | BUV395 |  |  | x
|  | AF350 | [11 empty] | x

## Aurora (Nala)
| Primary detector | Example Fluorochrome | Emmision Max (nm) | 10 color | Mature + Early | Mature only | Early only | CD71 | Gr1 | Ter119 | Mac1 | CD4 | CD8a | CD19 | B220 | CD3e | CD41 | AnnV | Fas | cKit | Sca1 | CD55 | ItgA6 | CD105 | CD150 | FcER1 | CD34 | CD16/32 | Streptavidin
|  | Unconjugated | [7 empty] | x
|  | Biotin conjugaged | [5 empty] | x | x | x | x | x | x | x | x | x | x | x | x | x |  | x |  |  |  | x
Blue Laser (488nm) | B2 | BD Horizon BB515 | 515
|  | Alexa Fluor® 488 | 521 |  |  |  |  | x | [16 empty] | x |  |  |  | x
|  | FITC | 520 | Lin+ | CD34 | Mac1 | CD34 | x | x | x | x | x | x | x | x | x | x | [6 empty] | x |  |  | x | x
| B3 | Alexa Fluor® 532 | 550
B4
| B5 | PE | 576 | CD105 | cKit |  | cKit |  |  | x |  |  |  |  | x |  | x | x |  | x | x | x |  | x | x | x |  |  | x
| B6 | BD HorizonPE-CF594 | 610
|  | PE/Dazzle 594 | 610 | [19 empty] | x
|  | PE-eFluor® 610 | 610
|  | ?? PI | 617
|  | Alexa Fluor® 594 | 617 | [25 empty] | x
|  | PE-Texas Red® | 625
|  | PE-Alexa Fluor® 610 | 630
B7
|  | ? 7AAD | 647
| B8 | PE-Cy5 | 668 |  | CD8a | [5 empty] | x | x | x | [15 empty] | x
| B9 | PE-Cy5.5 | 680
|  | PerCP | 680
|  | PerCP-Cy5.5 | 680 | Sca1 | Sca1 | Gr1 | Sca1 |  | x | [11 empty] | x |  |  | x
|  | BD Horizon BB700 | 695
| B10 | PE-Alexa Fluor® 700 | 720
|  | PerCP-eFluor® 710 | 730
B11
B12
B13
| B14 | PE-Cy7 | 780 | CD71 | CD19 | CD19 | CD16/32 | x |  | x |  |  |  | x | [8 empty] | x |  |  |  |  | x
Red Laser (640nm) | R2 | APC | 660 |  | CD4 | CD4 |  |  |  | x |  | x |  |  |  |  | x | x |  | x | [8 empty] | x
|  | eFluor® 660 | 660
|  | Alexa Fluor® 647 | 668 | CD55 |  |  |  | x | [10 empty] | x |  |  | x |  |  |  | x
R3
| R4 | APC-Cy5.5 | 680
|  | ? Draq 5 | 695
| R5 | BD Horizon APC-R700 | 705
|  | Alexa Fluor® 700 | 720 | CD19 | Ter119 | Ter119 | Lin |  | x | x | x | x | x | x |  | x | [9 empty] | x |  |  | x
R6
R7
| R8 | APC/Fire 750 | 780
|  | APC-Cy7 | 780 | cKit | CD8a | CD8a |  |  |  | x |  | x | x | [6 empty] | x | [8 empty] | x
|  | APC-eFluor® 780 | 780
|  | APC-H7 | 780 | [16 empty] | x
Violet Laser (405nm) | V1 | Brilliant Violet 421 | 421 | ItgA6 | CD71 | CD71 |  | x |  | x | [6 empty] | x | [5 empty] | x |  |  |  | x |  | x
| V2 | Super Bright 436 | 436
| V3 | eFluor® 450 | 450
|  | BD Horizon V450 | 450
|  | Pacific Blue | 455 | [20 empty] | x
|  | ?? DAPI | 461
| V4 | BD Horizon BV480 | 480
| V5 | Brilliant Violet 510 | 510 |  | CD16/32 | Fas | [12 empty] | x | [8 empty] | x
|  | eFluor® 506 | 510
|  | BD Horizon V500 | 510 | [9 empty] | x
V6
V7
| V8 | Pacific Orange | 550
| V9 | Brilliant Violet 570 | 570 |  | Mac1 | [5 empty] | x
| V10 | Super Bright 600 | 600
|  | Brilliant Violet 605 | 605 | CD41 | AnnV | AnnV | AnnV | [9 empty] | x | x | [10 empty] | x
|  | eVolve® 605 | 605
|  | Qdot® 605 | 605
| V11 | Super Bright 645 | 645
|  | Brilliant Violet 650 | 650 | CD150 | [20 empty] | x |  |  |  | x
|  | eVolve® 655 | 655
|  | Qdot® 655 | 655
V12
| V13 | Super Bright 702 | 702
|  | Qdot® 705 | 705
|  | Brilliant Violet 711 | 711
| V14 | Brilliant Violet 750 | 750
V15
| V16 | Brilliant Violet 785 | 785
|  | BD Horizon BV786 | 786 | Sca1 | Gr1 |  |  |  | x | [11 empty] | x
|  | Qdot® 800 | 790
unsupported |  | AF 405 | [7 empty] | x
|  | BUV395 | [7 empty] | x
|  | AF350 | [15 empty] | x

## Aurora (Simba)
| Primary detector | Example Fluorochrome | Emmision Max (nm) | All Abs | 10 color | Mature + Early | Mature only | Early only | CD71 | Gr1 | Ter119 | Mac1 | CD4 | CD8a | CD19 | B220 | CD3e | CD41 | AnnV | Fas | cKit | Sca1 | CD55 | ItgA6 | CD105 | CD150 | FcER1 | CD34 | CD16/32 | Streptavidin
|  | Unconjugated | [8 empty] | x
|  | Biotin conjugaged | [6 empty] | x | x | x | x | x | x | x | x | x | x | x | x | x |  | x |  |  |  | x
Violet Laser (405nm) | V1 | Brilliant Violet 421 | 421 | ItgA6 | ItgA6 | CD71 | CD71 |  | x |  | x | [6 empty] | x | [5 empty] | x | x |  |  | x |  | x
| V2 | Super Bright 436 | 436
| V3 | eFluor® 450 | 450
|  | BD Horizon V450 | 450
|  | Pacific Blue | 455 | [21 empty] | x
|  | ?? DAPI | 461 | DAPI
| V4 | BD Horizon BV480 | 480
| V5 | Brilliant Violet 510 | 510 | AnnV |  | CD16/32 | Fas | [12 empty] | x | [8 empty] | x
|  | eFluor® 506 | 510
|  | BD Horizon V500 | 510 | CD8a | [9 empty] | x
V6
V7
| V8 | Pacific Orange | 550
| V9 | Brilliant Violet 570 | 570 |  |  | Mac1 | [5 empty] | x
| V10 | Super Bright 600 | 600
|  | Brilliant Violet 605 | 605 | CD41 | CD41 | AnnV | AnnV | AnnV | [9 empty] | x | x | [10 empty] | x
|  | eVolve® 605 | 605
|  | Qdot® 605 | 605
| V11 | Super Bright 645 | 645
|  | Brilliant Violet 650 | 650 | CD150 | CD150 | [20 empty] | x |  |  |  | x
|  | eVolve® 655 | 655
|  | Qdot® 655 | 655
V12
| V13 | Super Bright 702 | 702
|  | Qdot® 705 | 705
|  | Brilliant Violet 711 | 711
| V14 | Brilliant Violet 750 | 750
V15
| V16 | Brilliant Violet 785 | 785
|  | BD Horizon BV786 | 786 | Gr1 |  | Gr1 |  |  |  | x | [11 empty] | x
|  | Qdot® 800 | 790
Blue Laser (488nm) | B2 | BD Horizon BB515 | 515
GFP
|  | Alexa Fluor® 488 | 521 | [5 empty] | x | [16 empty] | x |  |  |  | x
|  | FITC | 520 | Mac1 | Lin+ | CD34 | Mac1 | CD34 | x | x | x | x | x | x | x | x | x | x | [6 empty] | x |  |  | x | x
| B3 | Alexa Fluor® 532 | 550
B4
| B5 | PE | 576 |  | CD105 | cKit |  | cKit |  |  | x |  |  |  |  | x |  | x | x |  | x | x | x |  | x | x | x |  |  | x
| B6 | BD HorizonPE-CF594 | 610
|  | PE/Dazzle 594 | 610 | [20 empty] | x
|  | PE-eFluor® 610 | 610
|  | ?? PI | 617
|  | Alexa Fluor® 594 | 617 | [26 empty] | x
|  | PE-Texas Red® | 625
|  | PE-Alexa Fluor® 610 | 630
B7
|  | ? 7AAD | 647
| B8 | PE-Cy5 | 668 |  |  | CD8a | [5 empty] | x | x | x | [15 empty] | x
| B9 | PE-Cy5.5 | 680
|  | PerCP | 680
|  | PerCP-Cy5.5 | 680 |  | Sca1 | Sca1 | Gr1 | Sca1 |  | x | [11 empty] | x |  |  | x
|  | BD Horizon BB700 | 695
| B10 | PE-Alexa Fluor® 700 | 720
|  | PerCP-eFluor® 710 | 730
B11
B12
B13
| B14 | PE-Cy7 | 780 |  | CD71 | CD19 | CD19 | CD16/32 | x |  | x |  |  |  | x | [8 empty] | x |  |  |  |  | x
YelloGreen Laser (561 nm) | YG1 | PE | 576 | CD105 | [18 empty] | x
YG2
| YG3 | PE/Dazzle 594 | 610 | [5 empty] | x | [14 empty] | x
|  | BD HorizonPE-CF594 | 610
|  | PE-eFluor® 610 | 610
|  | PE-Texas Red® | 625
|  | PE-eFluor® 610 | 630
YG4
| YG5 | PE-Cy5 | 668 | CD4
YG6
| YG7 | PE-Cy5.5 | 680
|  | PerCP-Cy5.5 | 680 | [21 empty] | x
|  | PE-Alexa Fluor® 700 | 720
YG8
| YG9 | PE-Vio® 770 | 775
|  | PE-Cy7 | 780 | CD71
Red Laser (640nm) | R1 | APC | 660 | Ter119 |  | CD4 | CD4 |  |  |  | x |  | x |  |  |  |  | x | x |  | x | [8 empty] | x
| R2 | eFluor® 660 | 660
|  | Alexa Fluor® 647 | 668 | CD55 | CD55 |  |  |  | x | [10 empty] | x |  |  | x |  |  |  | x
R3
| R4 | APC-Cy5.5 | 680
|  | ? Draq 5 | 695
| R5 | BD Horizon APC-R700 | 705
|  | Alexa Fluor® 700 | 720 | CD19 | CD19 | Ter119 | Ter119 | Lin |  | x | x | x | x | x | x |  | x | x | [8 empty] | x |  |  | x
R6
R7
| R8 | APC/Fire 750 | 780
|  | APC-Cy7 | 780 | cKit | cKit | CD8a | CD8a |  |  |  | x |  | x | x | [6 empty] | x | [8 empty] | x
|  | APC-eFluor® 780 | 780
|  | APC-H7 | 780 | [17 empty] | x
unsupported |  | AF 405 | [8 empty] | x
|  | BUV395 | [8 empty] | x
|  | AF350 | [16 empty] | x

## CD71, Ter119, Streptavidin
| Primary detector | Example Fluorochrome | Emmision Max (nm) | CD71 | Ter119 | SA | Stain 1 | Stain 2 | Stain 3
|  | Unconjugated |  |  | x
|  | Biotin conjugaged |  | x | x
Blue Laser (488nm) | B2 | BD Horizon BB515 | 515
|  | Alexa Fluor® 488 | 521 | x |  | x
|  | FITC | 520 | x | x
| B3 | Alexa Fluor® 532 | 550
B4
| B5 | PE | 576 |  | x | x |  | CD105-PE
| B6 | BD HorizonPE-CF594 | 610
|  | PE/Dazzle 594 | 610 |  |  |  | ItgA6-PE/Dazzle 594 | ItgA6-PE/Dazzle 594
|  | PE-eFluor® 610 | 610
|  | ?? PI | 617 |  |  |  |  | PI
|  | Alexa Fluor® 594 | 617 |  |  | x
|  | PE-Texas Red® | 625
|  | PE-Alexa Fluor® 610 | 630
B7
|  | ? 7AAD | 647
| B8 | PE-Cy5 | 668 |  |  | x
| B9 | PE-Cy5.5 | 680
|  | PerCP | 680
|  | PerCP-Cy5.5 | 680
|  | BD Horizon BB700 | 695
| B10 | PE-Alexa Fluor® 700 | 720
|  | PerCP-eFluor® 710 | 730
B11
B12
B13
| B14 | PE-Cy7 | 780 | x | x |  | CD71-PeCy7
Red Laser (640nm) | R2 | APC | 660 |  | x | x |  | Ter119-APC | Ter119-APC
|  | eFluor® 660 | 660
|  | Alexa Fluor® 647 | 668 | x |  |  |  | CD71-AF647 | CD71-AF647
R3
| R4 | APC-Cy5.5 | 680
|  | ? Draq 5 | 695
| R5 | BD Horizon APC-R700 | 705
|  | Alexa Fluor® 700 | 720 |  | x
R6
R7
| R8 | APC/Fire 750 | 780
|  | APC-Cy7 | 780 |  | x | x
|  | APC-eFluor® 780 | 780
|  | BD APC-H7 | 780
Violet Laser (405nm) | V1 | Brilliant Violet 421 | 421 | x | x | x | Ter119-BV421 |  | itgA6-BV421
| V2 | Super Bright 436 | 436
| V3 | eFluor® 450 | 450
|  | BD Horizon V450 | 450
|  | Pacific Blue | 455 |  |  |  | CD105-PacBlue |  | CD105-PacBlue
|  | ?? DAPI | 461 |  |  |  | DAPI |  | DAPI
| V4 | BD Horizon BV480 | 480
| V5 | Brilliant Violet 510 | 510
|  | eFluor® 506 | 510
|  | BD Horizon V500 | 510
V6
V7
| V8 | Pacific Orange | 550
| V9 | Brilliant Violet 570 | 570
| V10 | Super Bright 600 | 600
|  | Brilliant Violet 605 | 605 |  |  | x
|  | eVolve® 605 | 605
|  | Qdot® 605 | 605
| V11 | Super Bright 645 | 645
|  | Brilliant Violet 650 | 650 |  |  | x
|  | eVolve® 655 | 655
|  | Qdot® 655 | 655
V12
| V13 | Super Bright 702 | 702
|  | Qdot® 705 | 705
|  | Brilliant Violet 711 | 711
| V14 | Brilliant Violet 750 | 750
V15
| V16 | Brilliant Violet 785 | 785
|  | BD Horizon BV786 | 786
|  | Qdot® 800 | 790
unsupported |  | AF 405 |  |  |  | x
|  | BUV395 |  |  | x | x

## Uncle Fester
Detector Array | PMT | Dichroic Mirror | Bandpass Filter | New fliter | Fluorochrome Options | 3/20/17 Early #1 | Dichroic Mirror | Bandpass Filter | 10 color
Blue 488nm | A | 735 LP | 800/65 |  | PE-Cy7 | CD16/32-PeCy7 |  |  | CD71-PeCy7
Octogon | B | 680 LP | 695/40 |  | PerCP-Cy5.5, PE-Cy5, PE-Cy5.5, 7AAD | Sca1-Pecy5-5 |  |  | Ter119-PeCy5
| C | 555 LP | 800/65 |  | PE, DsRed, PI | IL-7Ra-PE |  |  | CD105-PE
| D | 505 LP | 530/30 |  | FITC, GFP, CFSE, Alexa 488 | Lin-FITC |  |  | Lin-FITC
Violet 405nm | A | 505 LP | 525/50 |  | Am. Cyan, Vex, Alexa 430, Cascade Yellow, QD525, Live Dead Aqua |  | 505 LP | 660/20 | CD150-BV650
Trigon | B | empty | 450/50 |  | Pacific Blue, Alexa 405, Cascade Blue, ECFP, Pacific Orange | CD34-BV421 | empty | 450/50 | ItgA6-bv421
UV 355nm | A | 505 LP | 530/30 |  | Indo-1 Blue, Live Dead Aqua
Trigon | B | empty | 450/50 |  | Indo-1 Violet, DAPI, Hoecsht 33342, Alexa 350, Live Dead Blue, CMA | DAPI |  |  | DAPI
Red 633nm | A | 735 LP | 800/65 |  | APC-Cy7, APC-H7, APC-Alexa 750, Alexa 750 | cKit-APC-Cy7 |  |  | cKit-APC-Cy7
Trigon | B | empty | 660/20 |  | APC, Alexa 647, Alexa 633, Alexa 635, Cy5 |  |  |  | CD55-AF647

## Daisy
New Configuration for Daisy
Detector Array | PMT | Dichroic Mirror | Bandpass Filter | Fluorochrome Options | BKT stain | Ery | mature | early-combination 2
Blue Laser (488nm) | A | 735LP | 780/60 | PE-Cy7 | CD71-peCy7 | CD71-peCy7 | CD19-PeCy7 | CD16/32-PeCy7
| B | 635LP | 670/14 | PerCP-Cy5-5, Pe-Cy5-5, 7AAD, PE-Cy 5, PerCP-eFluor 710 | 7AAD | Ter119-PeCy5 | Ter119-PeCy5 | Sca1-PerCP-Cy5
| C | 556LP | 575/26 | PE, DsRed | CD105-PE | FcER1-PE | Mac1-PE | FcER1A-PE
| D | 505LP | 530/30 | FITC, GFP, CFSE, AF 488, Bex | Lin-FITC | GFP | GFP | CD34-FITC
| E |  | 488/10 | SSC
Violet Laser (405nm) | A | 760LP | 800/80 | BV 786, Qdot 800 | Sca1-BV786 |  | Gr1-BV785
| B | 630LP | 660/20 | BV650 | CD150-BV650
| C | 595LP | 605/20 | BV605, Qdot 605 | CD41-BV605 | AnnV-BV605 | AnnV-BV605 | AnnV-BV605
| D | 475LP | 525/20 | AmCyan, L-D Aqua, BV500, Vex, AF 430, Cascade Yellow | AnnV-BV510 |  | CD4-BV510
| E |  | 450/50 | Pacific Blue, BV421, L/D Violet, AF 405, eCFP, Pacific Orange, V450, eFluor 450, Cascade Blue | ItgA6-BV421 | DAPI | DAPI | DAPI
Red Laser (640nm) | A | 755LP | 780/60 | APC-Cy7, APC-H7, APC-AF 750, APC-eFluor 780 | cKit-APC-Cy7 | cKit-APC-Cy7 |  | cKit-APC-Cy7
| B | 685 LP | 730/45 | Alexa 700, APC Cy5.5, eFluor 710 |  | Lin-AF700 | CD8a-AF700 | Lin-AF700
| C |  | 660/20 | APC, AF 647, AF 633, AF 635, Cy 5, eFluor 660 | CD55-AF647 | FAS-BIO-SA-APC |  | CD41-APC

## Lurch
New Configuration for Lurch
Detector Array | PMT | Dichroic Mirror | Bandpass Filter | New filter | Fluorochrome Options | inDrop troubleshoot | 3/20/17 Early #1 | Mature | 10Color
Blue Laser (488nm) | A | 685LP | 695/40 |  | PerCP-Cy5-5, Pe-Cy5-5, 7AAD, PE-Cy 5, PerCP-eFluor 710 | 7AAD | 7AAD | 7AAD | 7AAD
| B | 505LP | 525/50 |  | FITC, GFP, CFSE, AF 488 | Lin-FITC | CD34-FITC | Mac1-FITC | Lin-FITC
| C |  | 488/10 |  | SSC
Violet Laser (403nm) 50mW | A | 630LP | 660/20 | Filter can not be changed | BV650 | CD150-BV650 |  | Fas-BIO-SA-BV650 | CD150-BV650
| B | 475LP | 525/20 |  | AmCyan, L-D Aqua, Vex, AF 430, Cascade Yellow | CD16/32-BV510
| C |  | 450/50 |  | Pacific Blue, BV421, L/D Violet, AF 405, eCFP, Pacific Orange, V450, eFluor 450, Cascade Blue | ItgA6-BV421 |  | Ter119-BV421 | ItgA6-BV421
Red Laser (641nm) 50mW | A | 750LP | 780/60 |  | APC-Cy7, APC-H7, APC-AF 750, APC-eFluor 780 | cKit-BIO-SA-APC-Cy7 | cKit-APC-Cy7 | CD8a-APC-Cy7 | cKit-APC-Cy7
| B | 685 LP | 730/45 |  | Alexa 700, APC Cy5.5, eFluor 710 |  | Lin-AF700 | Gr1-AF700 | CD41-AF700
| C |  | 670/30 |  | APC, AF 647, AF 633, AF 635, Cy 5, eFluor 660 | CD55-AF647 | Ter119-APC | CD71-AF647 | CD55-AF647
YG Laser (561nm) | A | 750LP | 780/60 |  | YG PE-Cy7, DRAQ 5 | CD71-peCy7 | CD16/32-PeCy7 | CD19-PeCy7 | CD71-peCy7
| B | 685LP | 710/50 |  | YG PE-Cy5-5
| C | 635LP | 660/20 |  | YG PE-Cy5, YG 7AAD, PI, Katushka (turbo 635) | Ter119-PE-Cy5 | x | x | Ter119-PE-Cy5
| D | 600LP | 610/20 |  | YG PE-Texas Red, mCherry, Cy 3-5, AF 594, AF 568, PI, PE-CF 594 |  |  |  | Sca1-PeDazzle594
| E | 550LP | 575/25 |  | YG PE, td Tomato, DsRed, mRFP, Cy 3 AF 546, PKH 26 | CD105-PE | Sca1-PE |  | CD105-PE
need BP filters: |  | 635LP | 660/20
|  | 685LP | 695/40

## Antibody Info
| Antibody | Clone | Company | Catalog number | Isotype | Stock concentration (mg/ml) | Normally used dilution | Final Concentration (ug/ml) | Link
Lin-AF700 | Mac1-AF700 | M1/70 | Biolegend | 101222 | Rat IgG2b, κ | 0.5 | 1:200 | 2.5 | https://www.biolegend.com/en-us/products/alexa-fluor-700-anti-mouse-human-cd11b-antibody-3388
| Gr1-AF700 | RB6-8C5 | Biolegend | 108421 | Rat IgG2b, κ | 0.5 | 1:200 | 2.5 | https://www.biolegend.com/en-us/products/alexa-fluor-700-anti-mouse-ly-6g-ly-6c-gr-1-antibody-3390
| CD19-AF700 | 6D5 | Biolegend | 115527 | Rat IgG2a, κ | 0.5 | 1:200 | 2.5 | https://www.biolegend.com/en-us/products/alexa-fluor-700-anti-mouse-cd19-antibody-3391
| CD4-AF700 | RM4-5 | Biolegend | 100536 | Rat IgG2a, κ | 0.5 | 1:200 | 2.5 | https://www.biolegend.com/en-us/products/alexa-fluor-700-anti-mouse-cd4-antibody-3386
| CD8a-AF700 | 53-6.7 | Biolegend | 100730 | Rat IgG2a, κ | 0.5 | 1:200 | 2.5 | https://www.biolegend.com/en-us/products/alexa-fluor-700-anti-mouse-cd8a-antibody-3387
Lin-FITC | Mac1-FITC | M1/70 | BD (Fisher) | 557396 | Rat IgG2b, κ | 0.5 | 1:200 | 2.5 | https://www.fishersci.com/shop/products/cd11b-rat-anti-mouse-fitc-clone-m1-70-bd/bdb557396
| Gr1-FITC | RB6-8C5 | BD (Fisher) | 553127 | Rat IgG2b, κ | 0.5 | 1:200 | 2.5 | https://www.fishersci.com/shop/products/anti-ly-6g-ly-6c-fitc-clone-rb6-8c5-bd-3/bdb553127
| CD19-FITC | 6D5 | BD (Fisher) | 553785 | Rat IgG2a, κ | 0.5 | 1:200 | 2.5 | https://www.fishersci.com/shop/products/anti-cd19-fitc-clone-1d3-bd/bdb553785#?keyword=553785
| CD4-FITC | RM4-5 | BD (Fisher) | 553047 | Rat IgG2a, κ | 0.5 | 1:200 | 2.5 | https://www.fishersci.com/shop/products/anti-cd4-fitc-clone-rm4-5-bd-3/bdb553047#?keyword=553047
| CD8a-FITC | 53-6.7 | BD (Fisher) | 553031 | Rat IgG2a, κ | 0.5 | 1:200 | 2.5 | https://www.fishersci.com/shop/products/anti-cd8a-fitc-clone-53-6-7-bd-3/bdb553031#?keyword=553031
| Ter119-AF700 | TER-119 | Biolegend | 116220 | Rat IgG2b, κ | 0.5 | 1:200 | 2.5 | https://www.biolegend.com/en-us/products/alexa-fluor-700-anti-mouse-ter-119-erythroid-cells-antibody-3428
0
| Ter119-FITC | TER-119 | Biolegend | 116205 | Rat IgG2b, κ | 0.5 | 1:200 | 2.5 | https://www.biolegend.com/en-us/products/fitc-anti-mouse-ter-119-erythroid-cells-antibody-1865
| cKit-APC-Cy7 | 2B8 | Biolegend | 105826 | Rat IgG2b, κ | 0.2 |  | 1 | https://www.biolegend.com/en-us/products/apc-cy7-anti-mouse-cd117-c-kit-antibody-5905
| CD55-AF647 | RIKO-3 | Biolegend | 131806 | Armenian Hamster IgG | 0.5 | 1:50 | 10 | https://www.biolegend.com/en-us/products/alexa-fluor-647-anti-mouse-cd55-daf-antibody-5515
| ItgA6-BV421 | GoH3 | Biolegend | 313624 | Rat IgG2a, κ | 0.025 | 1:50 | 0.5 | https://www.biolegend.com/en-us/products/brilliant-violet-421-anti-human-mouse-cd49f-antibody-8644
| CD105-PE | MJ7/18 | Biolegend | 120408 | Rat IgG2a, κ | 0.2 | 1:50 | 4 | https://www.biolegend.com/en-us/products/pe-anti-mouse-cd105-antibody-4572
| CD41-BV605 | MWReg30 | Biolegend | 133921 | Rat IgG1, κ | 0.2 | 1:100 | 2 | https://www.biolegend.com/en-us/products/brilliant-violet-605-anti-mouse-cd41-antibody-9927
| CD71-PeCy7 | RI7217 | Biolegend | 113812 | Rat IgG2a, κ | 0.2 | 1:2000 | 0.01 | https://www.biolegend.com/en-us/products/pe-cy7-anti-mouse-cd71-antibody-6185
| CD150-BV605 | TC15-12F12.2 | Biolegend | 115931 | Rat IgG2a, λ | 0.1 | 1:50 | 2 | https://www.biolegend.com/en-us/products/brilliant-violet-650-anti-mouse-cd150-slam-antibody-8799
| Sca1-PerCP-Cy5.5 | E13-161.7 | Biolegend | 122524 | Rat IgG2a, κ | 0.2 | 1:100 | 2 | https://www.biolegend.com/en-us/products/percp-cy5-5-anti-mouse-ly-6a-e-sca-1-antibody-4300

## Sheet1
DAPI
CD71
Ter119
AnnV
Fas
CD4
CD8
CD19
Gr1
Mac1
FcER1
cKit
Sca1
CD55
ItgA6
CD105
CD41
CD150